Mediclinic Rooftop PV Projects: Monthly report

Prepared for:

Moshesh Partners

Reference No:

HAR_215_Moshesh Mediclinic Monthly Report

May 2022

Document Control

| Responsible for | Name | Date | Signature |
| --- | --- | --- | --- |
| Content | Mutali Nepfumbada | 26 May 2022 |  |
| Checked | René Stewart | 30 May2022 |  |
| Approved | Adam Terry | 30 May 2022 |  |
| Copyright: | Commercial in Confidence | Document Reference: | HAR_215_Moshesh Mediclinic Monthly Report |
| Signatures in this approval box have checked this document in line with quality procedures requirements This document has been prepared by Harmattan with all reasonable skill and care. The document contains information from sources and data which we believe to be reliable, but we have not confirmed that reliability and make no representation as to their accuracy or completeness. The document is confidential to the Client and Harmattan accepts no responsibility to any third party to whom information in this proposal may be disclosed. No part of this document may be reproduced without the prior written approval of Harmattan. |  |  |  |

Table of Contents

1.	Portfolio Overview	3

1.1.	Scope of Work	3

1.2.	Site Visits	3

2.	Revenue	4

2.1.	Revenues This month	4

3.	Hermanus Technical Performance	5

3.1.	Hermanus Production vs Forecast	5

3.2.	Hermanus Irradiation vs Forecast	5

3.3.	Hermanus Availability vs Forecast	6

3.4.	Hermanus Performance Ratio Vs Forecast	6

4.	Durbanville Technical Performance	7

4.1.	Durbanville Production vs Forecast	7

4.2.	Durbanville Irradiation vs Forecast	7

4.3.	Durbanville Availability vs Forecast	8

4.4.	Durbanville Performance Ratio Vs Forecast	8

5.	Vergelegen Technical Performance	9

5.1.	Vergelegen Production vs Forecast	9

5.2.	Vergelegen Irradiation vs Forecast	9

5.3.	Vergelegen Availability vs Forecast	10

5.4.	Vergelegen Performance Ratio Vs Forecast	10

Highveld Technical Performance	11

5.5.	Highveld Production Vs Forecast	11

5.6.	Highveld Irradiation Vs Forecast	11

5.7.	Highveld Availability vs Forecast	12

5.8.	Highveld Performance Ratio Vs Forecast	12

6.	Midstream Technical Performance	13

6.1.	Midstream Production vs Forecast	13

6.2.	Midstream Irradiation vs Forecast	13

6.3.	Midstream Availability vs Forecast	14

6.4.	Midstream Performance Ratio Vs Forecast	14

7.	Events	15

7.1.	Scheduled Maintenance	15

7.2.	Unscheduled Maintenance	15

List of Figures

Figure 1: Revenue Year to Date	4

Figure 2: Hermanus Production Vs Forecast	5

Figure 3 Hermanus Irradiation Vs Forecast	5

Figure 4:Hermanus Availability Vs Forecast	6

Figure 5: Hermanus PR Vs Forecast	6

Figure 6: Durbanville Production Vs Forecast	7

Figure 7 Durbanville Irradiation Vs Forecast	7

Figure 8:Durbanville Availability Vs Forecast	8

Figure 9: Durbanville PR Vs Forecast	8

Figure 10:  Vergelegen Production Vs Forecast	9

Figure 11  Vergelegen Irradiation Vs Forecast	9

Figure 12: Vergelegen Availability Vs Forecast	10

Figure 13:  Vergelegen PR Vs Forecast	10

Figure 14: Highveld Production Vs Forecast	11

Figure 15 Highveld Irradiation Vs Forecast	11

Figure 16:Highveld Availability Vs Forecast	12

Figure 17: Highveld PR Vs Forecast	12

Figure 18: Midstream Production Vs Forecast	13

Figure 19 Midstream Irradiation Vs Forecast	13

Figure 20:Midstream Availability Vs Forecast	14

Figure 21: Midstream PR Vs Forecast	14

List of Tables

Table 1: Project Overview	3

Table 2: Project Overview	4

Table 3: Hermanus Production and Forecast	5

Table 4: Hermanus irradiation and Forecast	5

Table 5: Hermanus Availability and Forecast	6

Table 6: Hermanus PR and Forecast	6

Table 7: Durbanville Production and Forecast	7

Table 8: Durbanville irradiation and Forecast	7

Table 9: Durbanville Availability and Forecast	8

Table 10: Durbanville PR and Forecast	8

Table 11:  Vergelegen Production and Forecast	9

Table 12:  Vergelegen irradiation and Forecast	9

Table 13:  Vergelegen Availability and Forecast	10

Table 14:  Vergelegen PR and Forecast	10

Table 15: Highveld Production and Forecast	11

Table 16: Highveld irradiation and Forecast	11

Table 17: Highveld Availability and Forecast	12

Table 18: Highveld PR and Forecast	12

Table 19: Midstream Production and Forecast	13

Table 20: Midstream irradiation and Forecast	13

Table 21: Midstream Availability and Forecast	14

Table 22: Midstream PR and Forecast	14

Abbreviations

| A | Actual |
| --- | --- |
| B | Budget |
| F | Forecast |
| HSE | Health and Safety and Environment |
| OPEX | Operating expenses |
| PR | Performance ratio |
| SCADA | Supervisory control and data acquisition |
| YTD | Year-to-date |
| Δ | Variance |

Glossary of Terms

| Outages | Carrying out preventive maintenance work can mean the implicit disconnection of: The whole plant: This will only happen when working on the whole substation. Grouping of blocks: This situation will arise when working on equipment that connects various blocks at the same time (transformers, MV cabling, etc.…) Whole blocks: This situation will arise when working on the transformer or inverter of a block. Parts of a block: This will occur when we are working on PV module junction boxes or DC combiner boxes. No disconnection: When working on auxiliary equipment (security system, SCADA, fire fighting equipment, etc.…), or when working on the PV installation, the work does not involve an electrical risk (cleaning the modules, visual inspection, etc.…) Frequency: Is the frequency with which each of the jobs is carried out. |
| --- | --- |
| Communication systems | Are those systems that are common to all the blocks that make up the plant, for example, the security system, SCADA, perimeter fence, fire equipment, etc. |
| DC Combiner Boxes | The boxes where all the DC strings are combined. AC cabling: Comprises all AC cabling on the entire plant including the MV cabling between the 22kV transformers and the IPP substation. |
| DC Cabling | Comprises the cabling between the modules, as well as the cabling between the combiner boxes and the inverters. |

# Executive Summary

## Performance Summary

### Moshesh Mediclinic Durbanville Solar PV

Production is 784,777 kWh with a variance of 3% below the forecast.

Irradiation is 145 kWh/m2 with a variance of 10% below forecast.

Availability is 96.66% with a variance of 1.75% above the warranted availability.

PR is xxx with a variance of xx below warranted availability.

The gross revenue of R3,738,287 with a variance of 3% below the Budget.

### Moshesh Mediclinic Hermanus Solar PV

Production is 784,777 kWh with a variance of 3% below the forecast.

Irradiation is 145 kWh/m2 with a variance of 10% below forecast.

Availability is 96.66% with a variance of 1.75% above the warranted availability.

PR is xxx with a variance of xx below warranted availability.

The gross revenue of R3,738,287 with a variance of 3% below the Budget.

### Moshesh Mediclinic Highveld Solar PV

Production is 784,777 kWh with a variance of 3% below the forecast.

Irradiation is 145 kWh/m2 with a variance of 10% below forecast.

Availability is 96.66% with a variance of 1.75% above the warranted availability.

PR is xxx with a variance of xx below warranted availability.

The gross revenue of R3,738,287 with a variance of 3% below the Budget.

### Moshesh Mediclinic Midstream Solar PV

Production is 784,777 kWh with a variance of 3% below the forecast.

Irradiation is 145 kWh/m2 with a variance of 10% below forecast.

Availability is 96.66% with a variance of 1.75% above the warranted availability.

PR is xxx with a variance of xx below warranted availability.

The gross revenue of R3,738,287 with a variance of 3% below the Budget.

### Moshesh Mediclinic Vergelegen Solar PV

Production is 784,777 kWh with a variance of 3% below the forecast.

Irradiation is 145 kWh/m2 with a variance of 10% below forecast.

Availability is 96.66% with a variance of 1.75% above the warranted availability.

PR is xxx with a variance of xx below warranted availability.

The gross revenue of R3,738,287 with a variance of 3% below the Budget.

## Key Risks, Recommendations & Actions

The following key risk were identiﬁed in report month.

|  | Key Risks | Descriptions | Actions | Recommendation |
| --- | --- | --- | --- | --- |

# Portfolio Overview

Harmattan Renewables (Harmattan) has been appointed by Moshesh Partners (the Client) to provide asset management support for its rooftop assets at the various Mediclinic sites.

This document is intended to assist the Client in understanding the operational status of its active installations. The document provides details of energy production at Vergelegen, Midstream, Hermanus, Highveld, and Durbanville Mediclinics. The following table provides an overview of Commercial Operation Dates (COD). Harmattan will conduct a detailed review of plants performance in the asset management report to determine any factors that have affected plants performance.

| Name | COD (Commercial Operation Date) | Capacity DC (kW) |
| --- | --- | --- |
| Moshesh Mediclinic Durbanville Solar PV | 11 Nov 2021 | 705.7 |
| Moshesh Mediclinic Hermanus Solar PV | 10 Mar 2022 | 219.4 |
| Moshesh Mediclinic Highveld Solar PV | 30 Mar 2022 | 262.7 |
| Moshesh Mediclinic Midstream Solar PV | 27 Oct 2021 | 227.9 |
| Moshesh Mediclinic Vergelegen Solar PV | 28 Oct 2021 | 689.6 |

Table 1: Project Overview

## Scope of Work

The scope of work is fully described in Harmattan proposal “HAR_P215_MOSHESH_MediclinicAssetManagement _v2”, dated 15 July 2021”.

## Site Visits

Harmattan has not yet conducted operational monitoring site visits to any of the Project, however site visits are planned to Durbanville, Midstream and Vergelegen operational sites for July 2022.

# Revenue

## Revenues This month

Figure 1: Revenue Year to Date

| Plants | Actual ZAR | Forecast ZAR | Var % |
| --- | --- | --- | --- |
| Mediclinic Durbanville | 42149.02 | 47715.92 | -12% |
| Mediclinic Vergelegen | 37110.00 | 36465.55 | 2% |
| Mediclinic Highveld | 21364.50 | 24253.22 | -12% |
| Mediclinic Midstream | 18145.07 | 20377.57 | -11% |
| Mediclinic Hermanus | 17771.48 | 17225.23 | 3% |

Table 2: Project Revenue Overview

# Hermanus Technical Performance

Technical performance tables and figures below give details on plant Gross Generation, Irradiation, Availability and Performance Ratio compared against the forecast/warranted values, then analyse the results and give recommendations.

| Project Overview |  |
| --- | --- |
| Capacity (kW DC): | 219.4 |
| Resource | Solar |
| Project Company: | Moshesh Solar PV 1 (Pty) Ltd |
| Address: | Ravenscroft Rd Hermanus – 7200 – South Africa |

Table 3: Hermanus Project Overview

## Hermanus Production vs Forecast

| Date; Actual kWh; Forecast kWh; Deviation %. Jan-2022; 127624.6. Feb-2022; 96946.4. Mar-2022; 94648.1. Apr-2022; 70139.1. May-2022; 52487.9. Jun-2022; 39237.9. Jul-2022; nan. |  |
| --- | --- |
| Table 4: Hermanus Production and Forecast | Figure 2: Hermanus Production Vs Forecast |

Lorem ipsum dolor sit amet, consectetur adipiscing elit. Aenean ac ligula consectetur velit dignissim aliquam in vel est. Morbi quis lorem metus. Etiam sed erat sed sapien rhoncus fringilla. Etiam luctus, tellus nec porttitor placerat, quam sem dignissim tortor, ac aliquam eros justo ac arcu. Vivamus justo ante, sollicitudin eget posuere vitae, ultrices et quam. Donec sed sodales felis. Praesent gravida orci nec orci faucibus, eu tincidunt elit vestibulum.

## Hermanus Irradiation vs Forecast

| Month; Actual kWh/m²; Forecast P50 kWh/m²; Var %. Mar - 22; 15.73; 184; -91.45%. Apr - 22; 125.57; 135.3; -7.19%. May - 22; 111.23; 102.9; 8.09%. Total; 252.52; 422.2; -40.19%. |  |
| --- | --- |
| Table 5: Hermanus irradiation and Forecast | Figure 3 Hermanus Irradiation Vs Forecast |

Lorem ipsum dolor sit amet, consectetur adipiscing elit. Aenean ac ligula consectetur velit dignissim aliquam in vel est. Morbi quis lorem metus. Etiam sed erat sed sapien rhoncus fringilla. Etiam luctus, tellus nec porttitor placerat, quam sem dignissim tortor, ac aliquam eros justo ac arcu. Vivamus justo ante, sollicitudin eget posuere vitae, ultrices et quam. Donec sed sodales felis. Praesent gravida orci nec orci faucibus, eu tincidunt elit vestibulum.

## Hermanus Availability vs Forecast

| `; Actual %; Availability Guaranteed %; Var %. Mar - 22; 100.00; 95.00; 5.26%. Apr - 22; 93.46; 95.00; -1.62%. May - 22; 95.92; 95.00; 0.97%. Grand Total; 96.46; 95.00; 1.54%. |  |
| --- | --- |
| Table 6: Hermanus Availability and Forecast | Figure 4:Hermanus Availability Vs Forecast |

Lorem ipsum dolor sit amet, consectetur adipiscing elit. Aenean ac ligula consectetur velit dignissim aliquam in vel est. Morbi quis lorem metus. Etiam sed erat sed sapien rhoncus fringilla. Etiam luctus, tellus nec porttitor placerat, quam sem dignissim tortor, ac aliquam eros justo ac arcu. Vivamus justo ante, sollicitudin eget posuere vitae, ultrices et quam. Donec sed sodales felis. Praesent gravida orci nec orci faucibus, eu tincidunt elit vestibulum.

## Hermanus Performance Ratio Vs Forecast

The following table and graph compare the Scada performance ratio against the monthly guaranteed PR.

| Month; Actual %; Forecast P50 %; Var %. Mar - 22; 100.41; 85.06; 18.04%. Apr - 22; 78.08; 86.03; -9.24%. May - 22; 81.53; 86.55; -5.80%. Grand Total; 86.67; 85.88; 0.92%. |  |
| --- | --- |
| Table 7: Hermanus PR and Forecast | Figure 5: Hermanus PR Vs Forecast |

Lorem ipsum dolor sit amet, consectetur adipiscing elit. Aenean ac ligula consectetur velit dignissim aliquam in vel est. Morbi quis lorem metus. Etiam sed erat sed sapien rhoncus fringilla. Etiam luctus, tellus nec porttitor placerat, quam sem dignissim tortor, ac aliquam eros justo ac arcu. Vivamus justo ante, sollicitudin eget posuere vitae, ultrices et quam. Donec sed sodales felis. Praesent gravida orci nec orci faucibus, eu tincidunt elit vestibulum.